## Slide 1: KEKCC – KEK Central Computer System
Go Iwai
High Energy Accelerator Research Organization (KEK)
Computing Research Center (CRC)

## Slide 2: Two Large-scale Computer Systems in KEK
System-A Hitachi SR16000 model M1
Total peak performance: 54.9 TFplops
System-B IBM Blue Gene/Q
Total peak performance: 1.26 PFlops
Supercomputer System
Central Computer System (KEKCC)
Grid instance is running in the KEKCC
Linux Cluster + GPFS/HPSS
4,000 cores (Xeon 5670)
7 PB disk storage and tape library (up to 16 PB)

## Slide 3: KEKCC Overview
Central Computer System supporting KEK projects, e.g. Belle/Belle2, ILC, J-PARC, and so on.
  Current KEKCC has started in April 2012 and will be ended in August 2016.
Data Analysis System
  Login servers, batch servers
    IBM iDataPlex, Intel Xeon X5670, 4,080 cores (12cores x 340nodes)
    Linux Cluster (SL5) + LSF (job scheduler)
  Storage system
    DDN SFA10K 1.1 PB x 6 sets
    IBM TS3500 tape library (16 PB max)
    TS1140 60 drives
    GPFS (4PB)+ HPSS/GHI (HSM,3PB)
    Storage interconnect : IB 4xQDR (Qlogic)
    Grid (EGI) SE, iRODS access to GHI
    Total throughput : > 50 GB/s
Grid computing system: EMI and iRODS
  System includes common IT services, mail, web (Indico, wiki,...) as well.

## Slide 4: Who Are Working on KEKCC
Belle
  Belle experiment, precise measurements for CP violation.
T2K
  Neutrino experiment for measuring neutrino mass and flavour mixing. Shoot neutrino from Tokai to the detector at Kamioka mine (300km away)
Hadron experiments at J-PARC
  Various experiments for kaon and hadron physics
Material and Life science at J-PARC
  Neutron diffraction, neutron spectroscopy,
  nano-structure analysis, neutron instruments, muon spectroscopy
Belle2
  Belle II is the next generation Belle experiment. Aim to discover new physics beyond the SM. Physics run will start from 2017.
Kagra
  Gravitational wave (GW) detection experiment at Kamioka
  Expected to start operation in 2018
  Just started to utilize Grid computing resources for sharing data with LIGO and VIRGO.
ILC
  Linear collider experiment
  Japan is a candidate site
  Two active VOs: ILC and calice
These 3 experiments are big consumers last years.

## Slide 5
Experiments |  |  | Start Year | How work on KEKCC
Ongoing or Completed | Belle |  | 1999 | Mainly work on local batch servers
 | J-PARC | T2K | 2009 | Mainly work on local batch servers Partly using Grid for data delivery
 |  | Hadron Exp. | 2010 | Mainly work on local batch servers
 |  | MLF (Material&Life Science) | 2010 | Mainly work on local batch servers Partly using Grid (iRODS) for data transfer
Future | Belle2 |  | 2017 | Actively work on Grid
 | Kagra |  | 2018 | Just started preparation work for sharing data over the Grid
 | ILC |  | 202X | Working on Grid, and local batch servers

## Slide 6: Resource History
Chart: Storage (PB)
| KEKCC'06 | KEKCC'09 | KEKCC'12
Disk (PB) | 0.055 | 0.205 | 7
Tape (PB) | 0.32 | 3 | 16
HEPSPEC (kHS06) | 0.93968 | 9.1648 | 60
x6.6
x9.8
60 kHS06 of CPU
7 PB of disk
Max 16 PB of tape capacity
Current System

## Slide 7: Grid is Now Using Nearly Half of KEKCC
Chart: CPU Usage (%)
| 41000.0 | 41030.0 | 41061.0 | 41091.0 | 41122.0 | 41153.0 | 41183.0 | 41214.0 | 41244.0 | 41275.0 | 41306.0 | 41334.0 | 41365.0 | 41395.0 | 41426.0 | 41456.0 | 41487.0 | 41518.0 | 41548.0 | 41579.0 | 41609.0 | 41640.0 | 41671.0 | 41699.0 | 41730.0 | 41760.0 | 41791.0 | 41821.0 | 41852.0 | 41883.0 | 41913.0 | 41944.0 | 41974.0 | 42005.0 | 42036.0 | 42064.0 | 42095.0 | 42125.0 | 42156.0 | 42186.0 | 42217.0 | 42248.0 | 42278.0 | 42309.0 | 42339.0 | 42370.0 | 42401.0
KEK | 35.1382 | 21.0884 | 25.8788 | 18.3572 | 15.3548 | 33.6902 | 25.6428 | 26.6387 | 30.1696 | 26.6387 | 44.0492 | 44.1063 | 28.2684 | 34.3425 | 30.6572 | 29.7003 | 25.4926 | 33.074 | 44.2748 | 39.5462 | 28.8259 | 34.793 | 32.8719 | 28.4459 | 22.556 | 14.6591 | 22.0302 | 24.6362 | 38.9012 | 23.7943 | 9.7723 | 18.067 | 19.0043 | 23.8632 | 31.6372 | 26.4106 | 25.764 | 19.5559 | 19.5559 | 22.0245 | 19.0402 | 16.6751 | 37.5963 | 47.7766 | 22.6047 | 23.444 | 29.748
J-PARC | 4.1031 | 46.8379 | 11.9476 | 38.5582 | 7.9865 | 6.89 | 19.8716 | 2.4508 | 5.9061 | 2.4508 | 5.8285 | 12.484 | 17.5309 | 11.3843 | 15.3333 | 22.2996 | 6.4608 | 20.7591 | 10.3312 | 16.2399 | 21.7976 | 26.2588 | 22.2974 | 22.3991 | 26.2099 | 31.6621 | 29.9565 | 38.5837 | 24.4416 | 22.9906 | 23.5092 | 23.9357 | 15.5927 | 16.9208 | 18.5158 | 17.9913 | 13.2589 | 9.4272 | 9.4272 | 10.7664 | 10.4322 | 9.9652 | 7.0599 | 15.0602 | 18.1564 | 14.9313 | 18.3857
Belle | 57.2294 | 31.5722 | 61.7422 | 41.969 | 47.2782 | 59.4109 | 52.5616 | 68.3677 | 62.7203 | 68.3676 | 48.4236 | 37.7656 | 51.9802 | 37.0062 | 42.2272 | 41.2339 | 52.9736 | 39.5987 | 43.677 | 42.4247 | 45.8692 | 37.3826 | 42.2556 | 47.7348 | 45.7418 | 44.7117 | 46.4425 | 36.6055 | 33.5511 | 40.4963 | 34.7765 | 44.1342 | 65.3774 | 58.6873 | 49.6334 | 46.0157 | 45.3296 | 41.1777 | 41.1777 | 29.0008 | 34.0654 | 22.0059 | 31.375 | 25.0452 | 26.9698 | 48.2342 | 51.8493
Grid | 3.5294 | 0.50149 | 0.43131 | 1.1156 | 29.3804 | 0.0089305 | 1.9241 | 2.5428 | 1.2041 | 2.5428 | 1.6988 | 5.6442 | 2.2205 | 17.267 | 11.7823 | 6.7662 | 15.0731 | 6.5683 | 1.717 | 1.7892 | 3.5073 | 1.5656 | 2.5752 | 1.4202 | 5.4922 | 8.9671 | 1.5708 | 0.17463 | 3.1061 | 12.7187 | 31.9421 | 13.8631 | 0.025637 | 0.52865 | 0.21361 | 9.5825 | 15.6474 | 29.8392 | 29.8392 | 38.2083 | 36.4621 | 51.3538 | 23.9688 | 12.1181 | 32.2692 | 13.3905 | 0.017054
Local batch jobs

## Slide 8: Yearly 1PB of Read/Write to SRM
Chart: Monthly Read/Write (TB)
| 41000.0 | 41030.0 | 41061.0 | 41091.0 | 41122.0 | 41153.0 | 41183.0 | 41214.0 | 41244.0 | 41275.0 | 41306.0 | 41334.0 | 41365.0 | 41395.0 | 41426.0 | 41456.0 | 41487.0 | 41518.0 | 41548.0 | 41579.0 | 41609.0 | 41640.0 | 41671.0 | 41699.0 | 41730.0 | 41760.0 | 41791.0 | 41821.0 | 41852.0 | 41883.0 | 41913.0 | 41944.0 | 41974.0 | 42005.0 | 42036.0 | 42064.0 | 42095.0 | 42125.0 | 42156.0 | 42186.0 | 42217.0 | 42248.0 | 42278.0 | 42309.0 | 42339.0 | 42370.0 | 42401.0
WRITE | 3.1452 | 3.0529 | 4.1471 | 0.67977 | 10.7302 | 9.2111 | 29.4191 | 16.8648 | 20.5332 | 15.1445 | 24.6571 | 62.6064 | 45.3352 | 80.2024 | 34.7044 | 58.1936 | 6.6981 | 1.684 | 2.7595 | 4.8082 | 12.9882 | 45.2712 | 21.0216 | 4.1835 | 12.5372 | 18.0956 | 23.8734 | 73.4643 | 231.0087 | 244.1636 | 24.4794 | 49.4469 | 192.0168 | 83.5448 | 187.9842 | 549.4731 | 586.4062 | 638.2053 | 709.0836 | 42.1982 | 61.8445 | 80.9778 | 100.4225 | 134.0228 | 159.312 | 187.172 | 58.0013
READ | 2.1711 | 2.4088 | 1.246 | 0.34167 | 0.65591 | 4.0114 | 17.9686 | 19.4159 | 14.3102 | 11.1227 | 12.634 | 53.1318 | 26.2167 | 107.0856 | 377.7804 | 43.5618 | 234.2429 | 210.7549 | 128.1901 | 191.1763 | 222.3545 | 380.415 | 112.3067 | 3.4637 | 2.7313 | 5.0852 | 6.0125 | 6.046 | 51.173 | 11.3757 | 46.4238 | 109.5244 | 141.0273 | 68.6852 | 165.4352 | 422.0517 | 24.315 | 53.5785 | 66.566 | 61.9329 | 25.1432 | 26.4928 | 116.3118 | 37.1489 | 59.3215 | 39.1935 | 10.7781
WRITE TOTAL | 3.1452 | 6.1982 | 10.3453 | 11.0251 | 21.7553 | 30.9664 | 60.3854 | 77.2502 | 97.7834 | 112.9279 | 137.585 | 200.1914 | 245.5266 | 325.7289 | 360.4333 | 418.6269 | 425.325 | 427.0091 | 429.7686 | 434.5767 | 447.5649 | 492.8361 | 513.8577 | 518.0412 | 530.5784 | 548.674 | 572.5473 | 646.0116 | 877.0203 | 1121.184 | 1145.6634 | 1195.1103 | 1387.1271 | 1470.6719 | 1658.6561 | 2208.1292 | 2794.5354 | 3432.7407 | 4141.8243 | 4184.0224 | 4245.867 | 4326.8448 | 4427.2673 | 4561.29 | 4720.602 | 4907.774 | 4965.7753
READ TOTAL | 2.1711 | 4.58 | 5.8259 | 6.1676 | 6.8235 | 10.8349 | 28.8035 | 48.2194 | 62.5296 | 73.6523 | 86.2863 | 139.4181 | 165.6348 | 272.7204 | 650.5008 | 694.0627 | 928.3056 | 1139.0605 | 1267.2506 | 1458.4269 | 1680.7814 | 2061.1963 | 2173.503 | 2176.9667 | 2179.698 | 2184.7832 | 2190.7957 | 2196.8418 | 2248.0148 | 2259.3904 | 2305.8142 | 2415.3386 | 2556.3658 | 2625.0511 | 2790.4862 | 3212.5379 | 3236.8529 | 3290.4314 | 3356.9974 | 3418.9302 | 3444.0734 | 3470.5662 | 3586.878 | 3624.0269 | 3683.3484 | 3722.5419 | 3733.32
Belle2 MCC
B2 DC
4 PB of readout and 5 PB of writing to the SRM has been achieved

## Slide 9: System Procurement
KEKCC is totally replaced every 4-5 years, according to Japanese government procurement rule for computer system.
  International bidding according to GPA (Agreement on Government Procurement by WTO)
  Bidding is processed for 1 year.
Purchase and operation model
  NOT in-house scale-out model, BUT rental system
  Completely different purchase/operation model from US/EU sites
  Much less human resource in computer center
    25 staffs (KEK/CRC) vs 270 staffs (CERN-IT)
Hardware purchase by lease
+
Service (implementation/operation staffs)

## Slide 10: System Replacement Cycle
Bidding is processed for 1 year.
  Committee was launched in Feb/2015.
  RFx (Request for Information/Proposal/Quotation)
  RFC (Request for comments)
  Bidding
    Score for price + benchmark
    Bid-opening was done on the end of Dec/2015.
System implementation (Jan – Aug / 2016)
  Facility updates (power supply, cooling)
  Hardware installation
  System design / implementation / testing
Service-in of the new system is scheduled on Sep/2016.
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## Slide 11: CPU Server
Work server & Batch server
  Xeon 5670 (2.93 GHz / 3.33 GHz TB, 6 cores/chip)
  282 nodes : 4 GB/core
  58 nodes : 8 GB/core
  2 CPU/node : 4,080 cores, 60 kHS06
Interconnect
  InfiniBand 4xQDR (32Gbps), RDMA
  Connection to storage system
Job scheduler
  LSF (ver.9)
  Scalability up to 1M jobs
Grid deployment
  EMI & iRODS
  Work server as Grid-UI, Batch server as Grid-WN

## Slide 12: Disk Storage
DDN SFA10K x6
  Capacity : 1,152 TB x 6 = 6.9 PB (effective)
  Throughput: 12 GB/s x 6
  Used for GPFS (4PB) and GHI (3PB)
GPFS File System
  Parallel file system
  Total throughput : > 50GB/s
  Optimized for massive access
    IB connection : non-blocking / RDMA
    Number of file servers
  Separation of meta-data area
  Support for larger block size
Performance
  >500 MB/s for single file I/O in benchmark test

## Slide 13: Tape System
Tape Library
  TS3500
  Max. capacity : 16 PB
Tape Drive
  TS1140: 60 drives
  latest enterprise drive
  We do not use LTO because of less reliability.
    LTO is open standard. Could be different quality of tape drive/media for a specification.
Tape Media
  JC: 4TB, 250 MB/s
  JB: 1.6TB (repack), 200 MB/s
  Users (experiment groups) pay tape media they use.
  7PB is stored so far.

## Slide 14: Data Processing Cycle in HEP Experiments
Raw data
  Experimental data from detectors, transferred to storage system in real-time.
    2GB/s, sustained for Belle II experiment
  Migrated to tape, processed to DST, then purged
  “Semi-Cold” data (tens to hundreds PB)
    Reprocessed sometimes DST (Data Summary Tapes)
DST (Data Summary Tapes)
  “Hot data” (~tens PB)
  Data processing to make physics data
  Data shared with various ways (GRID access)
Physics summary data
  Handy data set for reducing physics results (N-tuple data)
Requirements for storage system
  High availability (considering electricity cost for operating acc.)
  Scalability up to hundreds PB
  Data-intensive processing w/ high I/O performance
    Hundreds MB/s I/O for many concurrent accesses (Nx10k) from jobs
    Local jobs and GRID jobs (distributed analysis)
  Data portability to GRID services (POSIX access)
~10-1,000PB
~10-100PB

## Slide 15: High Performance Tape Technology is the Key
Hundreds PB of data is expected for new HEP experiments.
  Cost-efficient on capacity
  Less electricity cost
Not only the cost/capacity issue,...
  Performance, Usability and Long-term Preservation are also very important.
  Hardware as well as middleware (HSM) are keys.

## Slide 16: Next System Component
NextScale
SX6518
SFA 12K
Elastic Storage Server
TS3500

## Slide 17: Current VS Next
 | Current | New | Upgrade Factor
CPU Server | IBM iDataPlex | Lenovo NextScale | 
CPU | Xeon 5670 (2.93 GHz, 6 cores/chip) | Xeon E5-2697v3 (2.60 GHz, 14 cores/chip) | 
CPU cores | 4,000 | 10,000 | x2.5
HEPSPEC (kHS06) | 60 | 250 | x4.1
IB | QLogic 4xQDR | Mellanox 4xQDR | 
Disk Storage | DDN SFA10K | IBM Elastic Storage System (ESS) | 
HSM Disk Storage | DDN SFA10K | DDN SFA12K | 
Disk Capacity | 7 PB | 13 PB | x1.8
Tape Drive | IBM TS1140 x60 | IBM TS1150 x54 | 
Tape Speed | 250 MB/s | 350 MB/s | 
Tape max capacity | 16 PB | 70 PB | x4.3
Power Consumption | 200 kW (actual monitored value) | < 400 kW (max estimation) | 

## Slide 18: Expected Resource in KEKCC’16
Chart: Storage (PB)
| KEKCC'06 | KEKCC'09 | KEKCC'12 | KEKCC'16
Disk (PB) | 0.055 | 0.205 | 7 | 13
Tape (PB) | 0.32 | 3 | 16 | 70
HEPSPEC (kHS06) | 0.93968 | 9.1648 | 60 | 250
Expected
250 kHS06 of CPU
13 PB of disk
Max 70 PB of tape capacity
current system
x6.6
x9.8
x4.2

## Slide 19: Belle2 Dedicated Services
The big change on Grid is many Belle2-critical services, e.g. LFC, SRM, AMGA, FTS, CVMFS S0, are isolated to the other VOs for more stable operation with no downtime.
LFC
RW
LFC
RW
LFC
RO
LFC
HA
For other VOs
Example 1

## Slide 20
GridFTP
GridFTP
10 Gbps x4
RAW data transfer to US
GridFTP
10 Gbps x4
10 Gbps x2
GridFTP
10 Gbps x2
GridFTP
10 Gbps x2
Example 2
Disk
HSM
For other VOs
HSM
HSM
HSM
Analysis
Every Activities other than raw data transfer

## Slide 21: Situation on Security
We have had no serious security incident during the current contract period of KEKCC.
Nevertheless the security cost is increasing in recent years.
Background:
  Many identity fraud: many personal identifiable information has been stolen from governmental institutes some times.
  “My Number” (Individual Number) has started in 2015.
Japanese people is getting nervous, government is getting more nervous.
Government suddenly gives us an order to provide the investigative reports for all machines, which connects to the Internet.
  Nearly 1,000
We have no full-time staff for these kind of works.
  DUTY-STOP during this works

## Slide 22: Summary
Grid job is being the biggest consumer in the KEKCC.
  30-50% of CPU time
Next KEKCC system will start in September 2016.
  CPU : 10K cores (x2.5), 250 kHS06 (x4.1), Disk : 13PB (x1.8), Tape : 70PB (x4.3)
  Some Grid components (LFC, StoRM, etc) will be deployed as Belle2-dedicated services on Belle2-dedicated servers with HA.
  CVMFS stratum-0 and -1 will start.
Tape system is still important technology for us, not only hardware but software (HSM) points of view.
  We have been a HPSS user for long years. We adopt GHI since 2012.
  GHI is a promising solution for HSM for large scale of data processing.
Scalable data management is a challenge for next 10 years.
  Belle2 experiment will start in 2017.
  Data processing cycle (data taking, archive, processing, preservation...)
  Workload management w/ cloud technology: Job scheduler (LSF) + Virtualization (KVM, Docker)
  Data migration as a potential concern

## Slide 23: Thank You!